Fire Safety Procedures

Fire Safety

Fire safety risk assessment

A fire safety risk assessment form is carried out in each area of the setting by the responsible person, using the five steps to fire safety risk assessment as follows:

- Identify fire hazards

- Sources of ignition.

- Sources of fuel.

- Sources of oxygen (including oxygen tanks for disabled children).

- Identify people at risk

- People in and around the premises.

- People especially at risk, less ambulant disabled children or those using specialised equipment, such as splints, standing frames.

- Evaluate, remove, reduce and protect from the risk

- Evaluate the risk of the fire occurring.

- Evaluate the risk to people from a fire starting on the premises.

- Remove and reduce the hazards that may cause a fire.

- Remove and reduce the risks to people from a fire.

- Record, plan, inform, instruct, train

- Record significant findings and action taken.

- Prepare an emergency plan.

- Inform and instruct relevant people; inform and co-operate with others.

- Provide training.

- Review

- Keep assessment under review and revise when necessary.

Fire risk assessments are reviewed annually, but sooner if any new or significant risks are identified within the service.

The fire safety risk assessment focuses on the following for each area:

- Electrical plugs, wires, sockets.

- Electrical items.

- Cookers.

- Matches.

- Flammable materials, including furniture, furnishings, paper etc.

- Flammable chemicals (which are also covered in COSHH).

- Means of escape from the building.

- Any other, as identified.

Fire safety precautions include:

- All electrical equipment must undergo Portable Appliance Testing (PAT) by a qualified electrician every two years.

- Any faulty electrical equipment is taken out of use and recorded as such or condemned (whichever is necessary).

- Water and electrical items do not come into contact; staff do not touch electrical items with wet hands.

- All fire safety equipment is checked annually.

- If matches are used in the kitchen, they are kept in a drawer.

# Fire Drills

- Fire evacuation drills (to include emergency evacuation procedures) are held termly. Occasionally, fire evacuation drills using alternative routes are practiced ensuring the building can still be evacuated quickly, but safely.

- Fire Drills (to include emergency evacuation procedures) are held termly.

- Drills are recorded, including:

- date of drill

- staff involved and numbers of children

- how long it took to evacuate

- any reason for a delay in achieving the target time and how this will be remedied

# Fire precautions

- Fire exit signs showing the green ‘running man’ signs with an arrow pointing in the direction of the emergency exit, are in place and clearly visible.

- Fire exits are never deliberately obstructed.

- Fire doors are not locked during normal working hours.

- Fire evacuation notices are in the lobby and main room; these are displayed in print large enough to read from a short distance. They say where the assembly point is.

- Smoke alarms are in place and tested weekly. This is recorded.

- A fire blanket is in place in the kitchen.

- Fire extinguishers are in place and are appropriate.

This procedure was adopted at a meeting of Thames Pre-school Committee.