Fire Safety Procedures

Fire Safety

Fire safety risk assessment

A fire safety risk assessment form is carried out in each area of the setting by a competent person, using the five steps to fire safety risk assessment as follows:

- Identify fire hazards

- Sources of ignition.

- Sources of fuel.

- Sources of oxygen (including oxygen tanks for disabled children).

- Identify people at risk

- People in and around the premises.

- People especially at risk, less ambulant disabled children or those using specialised equipment, such as splints, standing frames.

- Evaluate, remove, reduce and protect from the risk

- Evaluate the risk of the fire occurring.

- Evaluate the risk to people from a fire starting on the premises.

- Remove and reduce the hazards that may cause a fire.

- Remove and reduce the risks to people from a fire.

- Record, plan, inform, instruct, train

- Record significant findings and action taken.

- Prepare an emergency plan.

- Inform and instruct relevant people; inform and co-operate with others.

- Provide training.

- Review

- Keep assessment under review and revise when necessary.

The fire safety risk assessment focuses on the following for each area:

- Electrical plugs, wires, sockets.

- Electrical items.

- Cookers.

- Matches.

- Flammable materials, including furniture, furnishings, paper etc.

- Flammable chemicals (which are also covered in COSHH).

- Means of escape.

- Any other, as identified.

Fire safety precautions include:

- All electrical equipment is checked by a qualified electrician every two years.

- Any faulty electrical equipment is taken out of use and recorded as such or condemned (whichever is necessary).

- Water and electrical items do not come into contact; staff do not touch electrical items with wet hands.

- All fire safety equipment is checked annually.

- If matches are used in the kitchen, they are kept in a drawer.

# Fire Drills

- Fire Drills (to include emergency evacuation procedures) are held termly.

- Drills are recorded, including:

- date of drill

- staff involved and numbers of children

- how long it took to evacuate

- any reason for a delay in achieving the target time and how this will be remedied

# Fire precautions

- Fire exit signs are the green ‘running man’ signs and are in place and clearly visible.

- Fire doors are not locked during normal working hours.

- Fire evacuation notices are in the lobby and main room; these are displayed in print large enough to read from a short distance. They say where the assembly point is.

- Smoke alarms are in place and tested weekly. This is recorded.

- A fire blanket is in place in the kitchen.

- Fire extinguishers are in place and are appropriate.

This procedure was adopted at a meeting of Thames Pre-school Committee.

Further guidance

Dynamic Risk Management (Alliance Publication)

Fire Safety Record (Alliance Publication)

Fire Safety Risk Assessment: Educational Premises (HMG 2006): www.gov.uk/government/publications/fire-safety-risk-assessment-educational-premises